## Sheet1
| committee_name | committee_code | file_name | title | govtrack | speaker | speech
0 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. The Subcommittee on Oversight and Energy will come to order. Without objection, the Chair is authorized to declare recess of the Subcommittee at any time. Good morning. I would like to thank our witnesses for being here today. I appreciate the witnesses' patience and understanding as we had to postpone this hearing from July. And I look forward to the testimony today that will help us examine the vulnerabilities of America's power supply. Welcome to today's joint subcommittee hearing entitled ``Examining the Vulnerabilities of America's Power Supply.'' Due to time constraints and in the interest of allowing our witnesses to be heard and their questions answered, I will submit my opening statement for the record and I encourage others to do so as well.
1 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. I now recognize the Ranking Member of the Oversight Subcommittee, the gentleman from Virginia, Mr. Beyer, for an opening statement.
2 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412657 |  | Mr. Beyer. Mr. Chairman, respecting your fine example, I will also submit mine for the record.
3 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. Thank you, Mr. Beyer. I appreciate that. Now, I recognize the Chairman of the Energy Subcommittee, the gentleman from Texas, Mr. Weber, for an opening statement.
4 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. Thank you. My opening statement is that I submit my opening statement for the record. Welcome.
5 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. Thank you, Chairman Weber. I now recognize the Ranking Member of the Subcommittee on Energy, the gentleman from Florida, Mr. Grayson, for an opening statement.
6 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412276 |  | Mr. Grayson. Ditto.
7 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. Thank you, Mr. Grayson. And is Ms. Johnson not here? Okay. At this time I would like to introduce our witnesses. You don't have the option, okay, so--we wouldn't get anywhere if you guys follow suit, so we did this so you would have plenty of time. Our first witness is Richard Lordan. He is the Senior Technical Executive of the Power Delivery & Utilization Sector at the Electric Power Research Institute. Our next witness is Ms. Nadya Bartol--is the Vice President of Industry Affairs and Cybersecurity Strategist at Utilities Telecom Council where she works on UTC cybersecurity initiatives worldwide. Our next witness is Dr. Daniel Baker. He is the Director of the Laboratory for Atmospheric and Space Physics at the University of Colorado Boulder. He is a distinguished professor of planetary and space physics and the Moog-BRE. Is that proper? Okay. Endowed Chair of Space Sciences at the university. And our final witness is Dr. M. Granger Morgan. He is the Hamerschlag University Professor in the Department of Engineering and Public Policy at Carnegie Mellon University where he is also professor in the Department of Electrical and Computer Engineering. Thank you all for being here and I now recognize Mr. Lordan for five minutes to present his testimony.
8 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Lordan. Good morning, Chairman Weber and Mr. Loudermilk, Vice Chairman Knight and Johnson, Ranking Members Mr. Beyer, and members of the subcommittees. I am Richard Lordan, Senior Technical Executive at EPRI Transmission. I'm pleased to testify today on vulnerabilities of the electric grid. For those of you who don't know, EPRI is a 501(c)(3) nonprofit organization that conducts research and development relating to generation, delivery, and use of electricity for the benefit of the public. EPRI's members represent approximately 90 percent of the electricity generated and delivered in the United States. International participation extends to over 30 countries. So my testimony is going to be kind of in two parts. One is on the general vulnerability of the grid and then I'm going to bore down on one threat which is electromagnetic pulse. When I talk about the vulnerability of the grid, I'm really talking about vulnerability to high-impact, low-frequency events. They called them HILF events, and they are rare but they have a high impact. And some of these things include natural events like severe weather, earthquakes, geomagnetic disturbances, and also manmade threats like physical security and EMP, which I'm going to talk about today. So you asked about the vulnerability of the grid, and there are inherent vulnerabilities in the grid to these threats because the severity is generally higher than the design basis for the system. To completely eliminate these vulnerabilities would be cost prohibitive. It would defeat the industry's objective of providing reliable, safe, environmentally acceptable, and affordable power. EPRI supports a prudent approach where you assess the vulnerabilities from all of these threats, calculate the impact should these events occur, and develop cost-effective countermeasures that improve transmission system resiliency. I'm now going to talk about EMP with a comparison to geomagnetic disturbance. EMP and GMD are often conflated but there are important differences that I'll highlight. Dr. Baker could probably add some more. EMP, electromagnetic pulse, refers to a very intense pulse of electromagnetic energy typically caused by the detonation of a nuclear device or other high-energy explosive device. There are three stages of an EMP and I'm pretty sure you know what they are but I'll do it again: E1, E2, and E3. The E1 is characterized by an incredibly fast rise time high-energy pulse. It has the ability to destroy electronics in the power system, and it affects itself by the electric field itself or by coupling to wires that are attached to these devices. The E2 is similar to lightning and consequently can result in damage to electronics and potential flashover of distribution class insulation. E3 is characterized by a longer duration, low-frequency content similar to GMD, and that's why people talk about EMP and GMD together. But the E3 part of EMP is much shorter than a GMD, and therefore, it will not have the consequence of transformer overheating and failure. It does have the ability to saturate transformers and transformers will create harmonics. They'll consume reactive power and there may be voltage collapse on the system. With regard to risk management of these threats, so we talked about EMP and vulnerability. EPRI is leading an effort with the industry to characterize each of these threats, whether it's EMP, GMD, physical security or cyber, characterize the threat, then identify the key component--key components in the system and understand the vulnerability of those components, then assess the impact should this event happen. What's the effect on the system and what's the societal cost? Then we develop and assess mitigation strategies that will buy down that risk. And lastly, after we've done all the different threats one by one, we support looking sideways and seeing, hey, are there any mitigation strategies that also support multiple threat that would improve your business case by increasing transmission resiliency? So thank you again for inviting EPRI here today and I look forward to answering your questions.
9 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. I now recognize Ms. Bartol for five minutes to present her testimony.
10 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Ms. Bartol. Good morning, Mr. Chairman, and Members of the Subcommittee. My name is Nadya Bartol. I'm the Vice President of Industry Affairs and Cybersecurity Strategist at the Utilities Telecom Council. Thank you for the opportunity to testify today about the vulnerabilities of America's power supply. UTC is a global trade association for the communications and information technology interest of electric, gas, and water utilities; pipeline companies; and other critical infrastructure industries. Cybersecurity is a serious concern with respect to great vulnerability. It is a complex challenge that requires comprehensive process-driven solutions. It is and will remain a risk we must actively manage as long as society wants to have the conveniences of a modern world increasingly underpinned and enabled by smart interconnected technologies. Some of the variables in the complex cybersecurity grid vulnerability landscape are outside of our span of control. Although there are a number of variables within our control, there's no easy way to fix them either, as mitigating those variables to an acceptable level may take a long time. With respect to what is outside of our span of control, the grid is vulnerable to a variety of threats, including individual hackers, activist groups, cyber criminals, and nation states. With respect to what is within our span of control, those vulnerabilities are related to the shortage of qualified cybersecurity workforce, age of legacy infrastructure, lack of legal framework for information sharing, and evolving practices for assuring security in supplier products and services. The 2015 Global Information Security Workforce Study, an international survey of nearly 14,000 information security professionals published by ISC2, estimates the shortfall in the global information security workforce to reach 1.5 million by 2020. This problem is exacerbated in the energy space because we have two different sets of systems: systems that run the grid, referred to as operational technology (OT) and business systems that we refer to as information technology (IT). These two sets of systems command a different set of priorities that are served by individuals with different backgrounds, different vocabularies, and different goals and objectives. We need to educate and train more people with a skill set blended across those two types of systems, IT and OT, in order to make a noticeable difference. This challenge impacts the energy utilities, numerous vendors that supply systems for the grid, as well as the integrators who design and integrate larger, more complex systems for utilities. The deficit of cybersecurity workforce permeates all levels of the energy utility organization, and the same is true for the entire energy utility ICS and ICT supply chain. The technology of the grid is in itself a cybersecurity concern. The grid is based on layers that have accumulated over time, and the legacy structure was not designed to be secured because security was not a concern when that infrastructure was implemented. And utilities have been utilizing a variety of technologies, methods, and techniques to help manage and mitigate some legacy infrastructure's vulnerabilities. However, this is an ongoing concern, and acquiring and implementing such technologies, modifying network architectures, or replacing legacy infrastructure takes time and resources. The energy sector suffers from inconsistent threat information throughout the sector. Progress has been made but we still need a legal framework for information sharing that would remove the barriers that remain. Building robust systems that can be resilient in the face of cybersecurity threats requires considering security from inception. Utilities rely on vendors for systems design, development, implementation, and maintenance and are working on their approaches to productively communicate their assurance needs and then monitor the underperformance against those. Recently published standards and best practices provide requirements, methods, and techniques that help address this challenge. This includes NIST Cybersecurity Framework which is broadly used in the energy space. Cybersecurity is a complex challenge that cannot be solved overnight or permanently. It does not lend itself to a cookbook of solutions, nor can we envision every possible scenario to mitigate. We're dealing with an asymmetric threat. However, we can act to reduce the cyber-related vulnerabilities of the grid. These actions include increasing supply of cybersecurity workforce that understands both IT and OT contexts, financially enable utilities to upgrade or phase out their legacy infrastructures, enacting information-sharing legislation that removes current barriers, and supporting industry-based standardization and NIST framework implementation to help integrate security considerations into current and future technologies. I look forward to further dialogue.
11 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. Thank you, Ms. Bartol. I now recognize Dr. Baker for five minutes to present his testimony.
12 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. Thank you, Mr. Chairman. Extreme space weather events pose a threat to all forms of modern high technology, particularly the backbone provided by the electric power grid. The occurrence of severe space weather impacting our nation's infrastructure is not a question of ``if'' but ``when.'' My group studied a powerful solar storm that occurred just three years ago on the 23rd of July 2012. This solar eruption produced a coronal mass ejection that moved from the sun's to the distance of Earth orbit in only about 15 hours. This is among the very fastest-moving solar blasts ever witnessed in the space age. It was a ferocious disturbance that fortunately was directed somewhat away from Earth. We realized that a direct hit by such an extreme coronal mass ejection would cause widespread power blackouts, disabling everything that uses electricity. According to a 2009 study from the U.S. National Academies, the total economic impact from an event of this sort could exceed $2 trillion or 20 times greater than the cost of Hurricane Katrina. Multi-ton power grid transformers disabled by such a storm could take years to repair or replace. The current capability of our technological society to predict space weather is primitive. Through programs supported by the National Science Foundation, NASA, NOAA, we observe the sun, and we can see the general properties of the expansion of the solar atmosphere and powerful solar storms heading in our general direction. However, the measurements at the first Lagrangian point provide only about 4five minutes of warning at best as to what will impact Earth. This is insufficient time for implementing most mitigation strategies. I spent two sobering days on the 20th and 21st of July at the 6th Electric Infrastructure Security Summit here on Capitol Hill. Representatives from over 20 world nations attended the EIS Summit. CEOs from key electric power utilities and leaders from the U.S. military and several federal agencies spent time grappling with the immense challenges that would result if nuclear EMP or geomagnetic disturbances were to take down the North American power grid. In the EIS world, such events are termed ``Black Sky'' days. The 100-plus EIS delegates acknowledged that the collapse of the power system would be devastating, and that industry, government, and academia must all work together to the greatest degree possible to minimize the impact when such a Black Sky day occurs. In space weather, as in many things, forewarned is forearmed. Many studies have shown that improved prediction of space weather would have important economic impacts on our society in the same way that improved terrestrial weather forecasts have greatly improved our economic wellbeing and the quality of daily lives. Is our problem of improving space weather forecasting hopeless? Absolutely not. But it will require a substantially increased and dedicated government research program. Government-funded programs must be chosen to advance our civilization, our strategic importance in the world. In fact, efforts that would result in sufficient space weather prediction capability would be among our highest national--should be among our highest national priorities. Unfortunately, today's federal investments and policies are not aligned with this set of space weather needs. The U.S. National Academies published a Decadal Survey in Solar and Space Physics in 2012. I was privileged to chair that activity. The Decadal Survey established the priorities for research relevant for space weather and basic research for NASA and NSF in the years 2013 to 2022. However, to date, NASA has not requested, nor has Congress funded, any of the significant initiatives recommended by the Decadal Survey. The Heliophysics Division of NASA, which has the main responsibility for the research required to improve space weather predictions, is NASA's smallest science division. NSF space weather activities are only a small part of the geosciences division with many high priorities for other research areas. NOAA has the responsibility for making the actual space weather forecasts through the Boulder space-based--Space Weather Prediction Center, but these forecasts can only be based upon larger research efforts supported by the NSF and NASA. A very substantial program was envisioned in the Decadal Survey that would build on the--a true operational 24/7 national space weather program. This would be a large investment but is essential for our nation's future. A key activity now underway is--by the federal agencies to address the Federal Space Weather Framework, as identified by the acronym SWORM with funding appropriately above the Decadal minimum level, the Decadal plan and the SWORM implementation plan could yield the required predictions in sufficient time. The existential threat to our society represented by severe space weather events, especially to the national power grid, demand a similar national commitment even in these times of fiscal constraint. The nation should issue a challenge to the space research community to provide the predictive capability for space weather sufficient to make our economy more resilient and to reduce to an acceptable level our national vulnerabilities. The nation should recognize that this is a pressing challenge and that substantial resources will be required. In return, the space research community must give its common pledge that it will deliver what the nation requires. I would respectfully suggest that the time for budgetary and policy action is now. Thank you very much.
13 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. Thank you, Dr. Baker. I now recognize Dr. Morgan for five minutes to present his testimony.
14 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. Good morning. And thanks very much to Chairman Smith, Loudermilk, and Weber, and Ranking Members Johnson, Beyer, and Grayson for the opportunity to testify today. As you heard, my name is Granger Morgan. I'm a professor at Carnegie Mellon, where I work on issues in engineering and public policy, including issues in the power system, often with the National Academy of Sciences, of which I'm a member. Unlike food and water, none of us consume electricity directly. Rather, we consume the services that electricity makes possible, and those services have become ever more critical to the safe, effective, and productive functioning of our lives as individuals and to our society and hence also to our national security. Today, I'll talk about three things: 1) Strategies to avoid physical disruption of the power system; 2) Strategies to speed the process of putting the system back together after physical disruption; and 3) Strategies to assume the continued provision of critical social services when grid electricity is not available. Because the power system is spread out across the landscape, it's inherently vulnerable to both natural and intentional physical damage. In addition to space weather, natural hazards include wildfires, tornadoes, floods, earthquakes, tsunamis, hurricanes, and ice storms. We all know about the devastation that Hurricanes Sandy and Katrina caused to the power system. Ice storms can be equally devastating. The 1998 ice storm in Quebec and Ontario is a vivid illustration of the power system's vulnerability to natural hazards. It collapsed miles of high-voltage power lines blacking out over 2-1/2 million customers in Canada and the United States, caused damages of over $2-1/2 billion, involved 28 deaths in Canada and 17 in the United States, and left some people without power in the dead of winter for many weeks. Of course, we can't avoid hurricanes and ice storms but we can make the high-voltage power system much more resilient. Twenty-five years ago, a report by the Congressional Office of Technology Assessment noted that the power system is vulnerable to attackers using ``just high-powered rifles.'' A terrorist organization that wanted to cause a massive disruption to the U.S. power system could order rifles and armor-piercing bullets on the internet, place sharpshooters in the back of station wagons like the 2002 Washington snipers, and from a distance put holes in carefully selected sets of critical high-voltage power transformers. The 2013 rifle attack on the 500 kV substation in Congresswoman Lofgren's district vividly illustrates the risk. In a National Academy report I chaired on terrorism and the power system, we recommended replacing chain-link fences that surrounded many large substations with robust and opaque barriers, as well as a variety of other steps to limit access, increase security, and to harden the system. Progress has been made, but more is needed. Our Academy report also recommended that the Department of Homeland Security and the Department of Energy develop a stockpile of emergency replacement transformers, an idea first studied years ago by EPRI. Between 2012 and 2014, DHS demonstrated this idea, but there's an urgent need to move beyond demonstration to implement a stockpile. Earlier this month, Paul Parfomak at CRS prepared an excellent report on power transformers and I urge the Committee to give his comprehensive summary a careful reading. The power industry is well organized to deal with damage from a range of normal disasters. However, there's a need to better address recovery from larger events. In my written testimony I've elaborated on options and on efforts by several groups to reduce vulnerabilities. Equally important, the nation should take steps to assure that critical social services can continue to operate when the power system goes down, whatever the cause. Key strategies include: LED traffic lights with solar cell and battery backup so that traffic doesn't snarl and block emergency vehicles in key transportation corridors; more systematic and reliable use of backup generators; cell phone and other communication systems that will remain intact and continue to operate not just for hours but for days; and greater use of smart meters and microgrids to allow local islands of power to continue to support key social services. I've run two meetings at the National Academy on power system resilience, the more recent under the auspices of the Resilient America Roundtable that I chair. Web addresses for the video of those meetings are provided in my written testimony. Thanks very much for your attention.
15 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. First of all, let me thank the witnesses for their testimony. This is a very, very important issue to both of these subcommittees. And Members are reminded that the committee rules limit questioning to five minutes, and the Chair recognizes himself for the first five minutes. Ms. Bartol, I want to focus on you because I spent 30 years in the IT industry prior to coming to Congress, and as part of that, I actually worked with a lot of small utilities, municipal-owned utilities in automating a lot of their SCADA systems, providing fiberoptic connectivity and allowing them to be more automated in the control of substations, et cetera. You had mentioned supply chain as part of your testimony, which is one of the areas of the concern with me. And I think you also mentioned a standardization. Is there any standard as far as configuration, what infrastructure components for a network looking at the cybersecurity side gateways, routers, security devices? Do you know, is there an industry standard or an accepted product list that we know that if a utility implements this type of product or this type of configuration, then it's approved, it would be more likely to be secure or that something that's lacking? And what's your comment as far as is what we need in standardization?
16 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Ms. Bartol. I don't believe there's a list as you're describing, and it really--what's needed depends on each individual utility's configuration and architecture. There are standards that provide a set of processes and so to say rules that help organizations think through how to do this well, to help them think through putting together processes and relationships with suppliers that are more robust than otherwise. And those--there's--in this document--there's an international ISO document specifically just for security and supply relationships. There's an IEC document for control systems. So there's a number of standards. They tend to look at the process more than specific configuration because it all depends on individual----
17 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. Right. Is there a vulnerability there? And I'm coming from the equipment side because I know many of the especially small utilities will build the SCADA systems where they can control substations and different elements within that EMC or within that municipality. Then they'll connect it to the internet so their technicians can respond remotely without coming in. We have seen that that's a huge vulnerability. When I was in the military, we had an approved products list that have been tested that says if you're going to do this--which that are going to happen, you know, given that's going to happen--if you use this product with this configuration, then you're going to more likely be secured, but I know that there's numbers of small utilities out there that can easily be--I know they are very vulnerable the nation. Would a standardized equipment list that has been tested--because we also know that a lot of these guys go in and they will buy their equipment from eBay or wherever they can get it cheaper and I know at one time some foreign-made hardware is actually encoded in the firmware with holes, backdoors to allow people to get in. Is that something that you feel is needed? And also, I'd like Dr. Morgan to answer--I see that you're trying to respond. Ms. Bartol, would you comment on that? Is that something that you feel is something that we should look at?
18 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Ms. Bartol. A list of approved tested equipment would be tremendously helpful. My only reservation here is that, once you put a list in stone, if it's hard to get on it, then it would stifle innovation. So it can be done, it should be done, it needs to be done carefully, and there are several groups trying to work on this kind of a concept right now.
19 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. Thank you. Dr. Morgan?
20 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. Well, on the cyber issue, I mean your comment about interconnecting to the internet of course was critical. You might think in terms of not so much of specific equipment but in terms of architectures or system designs because that's the big issue. I mean if I do silly things like have wireless systems in substations that somebody from the outside can hack or if I have an internet connection for my SCADA, then I'm just sort of asking for problems. I might say one other thing on the cyber issue, and that is I know how to really cause a lot of disruption and inconvenience with cyber attacks. There haven't actually been any successful ones that I'm aware of, but I don't know how to cause large-spread physical damage. In contrast to the sort of thing that Dr. Baker was talking about or the sort of physical events that I was describing, which could, you know, if we got caught without appropriate preparation, could result in disruptions that came--that lasted for months or maybe longer----
21 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. Right.
22 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. --as opposed to, you know, days or weeks, which a cyber attack clearly could cause.
23 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. Yeah. Thank you. One last question, Ms. Bartol. You talked about legacy systems, and I've recently read that there's a physical or online attack once every four days, and I assume that is accurate. But when we are talking about going from a legacy system, which really what we're doing now is we're putting new technology on top--layering on top of the legacy system. When you're talking about going to a legacy system, I'm assuming you're talking about a smart grid type system. And part of that is the smart meters. Is there a vulnerability of having smart meters at home and what type of information are we gathering from that?
24 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Ms. Bartol. To my knowledge, the information gathered from the smart meters is information about electricity usage. Nothing that qualifies as personal information is gathered. The vulnerability lies in the fact that this is smart technology, this is IP internet protocol-accessible technology and lots of access points, a lot more access points than before. So the Swiss cheese is bigger and you have more opportunity to come in. That's the vulnerability really.
25 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. Okay. Thank you. And I apologize to the Committee; I exceeded my time. I now recognize the gentleman from Virginia, Mr. Beyer.
26 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412657 |  | Mr. Beyer. Thank you, Mr. Chairman. And thank all of you very much for coming and talking with us. Dr. Baker, in talking about severe space weather events and black sky days, number one, how frequent are these? Are these something that we can see once in our lifetime or once in 200 years or once every five years? Is it realistic to think that we can extend the warning time from the 45 minutes at Lagrange 1 to something much longer than that? And then as dramatic as these are, are there really mitigation efforts we can take that will make a difference? And by the way, are they limited to solar events or are there other extreme space events that we should be concerned about?
27 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. With respect to the latter, there could be some other extreme events, but the most probable is really a solar-driven event of the sort we're talking about. How frequently these occur is the subject of continuing investigation, but the largest of these events are probably like equivalent of a 1-in-100-year kind of flood or something like that. But we are learning more about the sun all the time and recognizing that these could be occurring more on the time scale of every decade or two, every solar cycle. The--I--the other part of your question I guess----
28 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412657 |  | Mr. Beyer. Extending the warning period----
29 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. Extending the warning period----
30 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412657 |  | Mr. Beyer. --the 4five minutes we have now.
31 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. Yes, that's one of the key things that is under research right now. By looking at the sun, we can see that coronal mass ejections are being emitted from the sun. This can give us perhaps warning of 12 to 14 hours, something like that. If we knew what the conditions inside of that material that was expelled from the sun were, whether that was going to be extremely harmful or relatively benign, has largely to do with the interplanetary magnetic field. If we could do that, then we could give perhaps eight to ten hours of warning. That would be extremely beneficial for many who are trying to prepare themselves for the largest of these events that are coming.
32 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412657 |  | Mr. Beyer. All right. Thank you, Dr. Baker. And Ms. Bartol, you talked about the need for information-sharing legislation. Can I take it from that that information-sharing right now is prohibited by state or federal law? And are you aware of any initiatives or any proposals right now in play to make that information-sharing legal?
33 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Ms. Bartol. It's not prohibited but it is difficult due to various unclarities and restrictions that do exist. We--you know, the industry appreciates two bills passed by the House before summer, and we hope that the Senate will pass the information-sharing bill. It's about giving liability protections to organizations that need to share and it's mostly about the threat indicators. There's--it sort of made of data that comes in and you put in your system. That's what's being----
34 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412657 |  | Mr. Beyer. I know all of us on the committee would love to pursue that in a constructive way. And, Dr. Morgan, you talked about the ice storms. You lead with that. As long as I've been paying attention, they've been bringing down power lines throughout the Northeast and Canada. Is there new engineering out there to make the overhead power lines less susceptible? They're burying all the power lines in new projects around Virginia, for example.
35 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. Yeah, they're burying lower-voltage power lines. You're not likely to want to bury 500 and 765 kV transmission lines or the DC (direct current) lines that come down from La Grande in Quebec. But you can do things like build more robust towers. I mean one of the problems in the Quebec example that I gave was that there was a lot of collapsing of towers, and actually California has passed legislation that says that every so many towers you've got to put a robust tower that can--that won't collapse. I mean it's much cheaper to build towers that are just guide and held up by the wires but then you can get a domino collapse. So there are things like that you can do. They cost a bit more and you have to find regulatory strategies to pay for it, but the California example is one case where it's been done.
36 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412657 |  | Mr. Beyer. Great. Thank you. And Mr. Lordan, it's fascinating with the E1, E2, E3 questions. On GMD and time to respond, how best do we expand that time to respond? What--on the E1, E2, E3--are these only coming from nuclear weapons? And is there something we can do on arms control and nonproliferation to guard against that?
37 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Lordan. So let's do E1, E2, E3 warning first. Typically--the EMP is a nuclear device. Typically, a nuclear device or some high-powered device, the fast rise time for the E1 is the most important part and a nuclear device is the way to go for that. We assume no warning for that, and so we've--we believe operational strategies are inapplicable for EMP, a nuclear attack. Are there things that DOD can do to give us warning, to mitigate attack? Certainly, but that's outside of my purview. And if I could go on to GMD----
38 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412657 |  | Mr. Beyer. Yeah, please.
39 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Lordan. --for warning. Okay, so the average storm is about four days. Dr. Baker says there's fast ones. So we can observe the sun and we can tell when it's coming, and there's things that you can do in that four day period even though you know that it's kind of vague but you're not sure exactly how big and you're pretty sure it's going to hit you but you're not exactly sure. There's things you can do. You can defer maintenance on your transmission line so you have more capacity, you can back off generation so that you have a little bit of room to add voltage support. So there's things like that you can do. And we are doing studies with NASA where they're trying to improve the accuracy of the observations of the sun in the first four days before it reaches DSCOVR satellite, yes.
40 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412657 |  | Mr. Beyer. Thank you. Thank you, Mr. Chairman.
41 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. Thank you. The Chair now recognizes the Chairman of the Energy Subcommittee, the gentleman from Texas, Mr. Weber.
42 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. Thank you. Mr. Lordan, a friend of mine likes to say that nothing is faster than the speed of light, and if you don't believe that, try opening the refrigerator door before the light comes on. An NNEMP, a nonnuclear electromagnetic pulse device, now you talked about the sun flare. I was astounded by that and did a little math. The sun is 93 million miles from Earth or 94.5 at its aphelion. So at 186,000 miles an hour, how long do you anticipate it would take an event like the solar flare to hit us?
43 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Lordan. The storm is fast but not as fast as the speed of light. It travels about a million miles an hour, the typical one. And there's faster ones. So 93 million miles will get you there in about 96 hours is 4 days, so that's an easy way of doing it. And then the Lagrange 1 point where Dr. Baker referred, we have a satellite there. There's an A satellite, there's a DSCOVR satellite, and then when it reaches that point, you get a lot better information, but unfortunately, the gravitational Lagrange point is only one hour away from Earth. There's only--one million miles away.
44 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. Okay. And my study, I know that the NNEMP, nuclear electromagnetic pulse weapons, there's a lot of discussion. There's nonnuclear electromagnetic pulse weapons, and they talk about capacitor banks.
45 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Lordan. Um-hum.
46 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. So I owned an air-conditioning company for 34 years and we're used to a lot of power, you know, calculations on a house being built, the size of a wire and all that kind of stuff needed, so I pay close attention to it. And of course being from Texas we have the ERCOT, Electric Reliability Council of Texas. We have our own grid, about 85 percent of the State. So we pay real close attention to that. But from the nonnuclear weapon standpoint, the capacitor banks that could go on the end of a missile, are you familiar with those?
47 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Lordan. Yes, sir. And there are smaller devices that are more accessible to more parties so we're trying to figure out the risk spectrum, the folks who can supply high-altitude nuclear device and have the missile capacity to get it here. It's small--
48 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. Okay.
49 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Lordan. --and the effect is high. These intentional electromagnetic interference, which is what you're referring to, these are more accessible to more folks. The thing about those devices is that they provide a local impact, and therefore, you'd need to have a coordinated attack to make a big impact. And so I think this group is talking more about high impact--
50 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. Right, and we're going to discuss that grid. I think it was Dr. Morgan who might have said you wouldn't want to put high-voltage underground. And one way to harden the grid would be to have most of your utilities underground. But when you say small, back to the NNEMPs, define small, 4 feet, 6 feet, 2 feet.
51 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Lordan. I think--I'm going to say--I'm not sure exactly. I think I see things in a bread truck is what I usually see the picture of--
52 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. Okay.
53 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Lordan. --but I think they can be they can be smaller than that.
54 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. Okay. So let's go on to what I think Dr. Morgan said. You wouldn't want to put high-voltage wire underneath the ground, and a lot of utilities in a lot of States require--a lot of subdivisions require that utilities come into the neighborhood now underground, whether it's--you know, of course obviously water, sewer, electricity, phone, that kind of stuff, as opposed to the aerial overhead. How high does voltage have to be before you think you wouldn't want to put it underground?
55 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. Well, it's a matter of cost. I mean you can put a 500 kV line underground. I mean we run 500 kV lines across things like, you know, oceans with--
56 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. Sure.
57 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. --cables but it's really expensive, and so--
58 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. So you're not talking about from an engineering perspective----
59 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. I'm saying--I'm not saying you can't do it--
60 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. --just the dollar amount?
61 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. --I'm saying it's excluded.
62 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. Right.
63 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. On the issue of EMP, he's right. I could take out a substation with a small homemade EMP device. And I could also take--
64 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. Now, let's define small. Is that three feet, two feet?
65 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. Something that would fit in the back of a pickup truck.
66 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. Okay, so a truck bomb?
67 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. Well, yeah, I mean if you want to think of it that way.
68 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. Okay.
69 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. On the other hand, you know, I could also take it out with a rifle, and so it's not clear to me that EMP--
70 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. Okay.
71 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. --is the sensible--
72 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. Well, let's go there. You talked about--one of you talked about the snipers from 2002.
73 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. Yeah.
74 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. So transformer is a set of coils, and again we dealt with transformers, high-voltage, low-voltage in the air-conditioning business with oil in it, a light oil----
75 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. Right, in a big steel box.
76 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. That's right. Why don't they just make the steel thicker and less----
77 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. Well, that's one of the things that's being talked about. Another thing, of course, that's being talked about is--I mean, you know, you can buy armor-piercing bullets on the internet, and so it's--there is--you really have to make it quite a bit thicker. But the other thing I can do is things like simply making it hard to see from the outside.
78 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. Sure. Well----
79 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. I mean at the moment--
80 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. You betcha.
81 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. --it's behind a chain-link fence.
82 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. And, Mr. Lordan, you wanted to weigh in.
83 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Lordan. Just real quick. I mean you can make the tank thicker but the radiator where you're trying to dispel the heat is--
84 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. You've got to have a way to get the heat out. Yeah.
85 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Lordan. And the attack in 2013 that you alluded to, they shot the tank a few times but what they really shot was the radiators--
86 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. Well, a really good sniper can take the insulators out and bring the wires off down in contact with metal structure so----
87 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. Yeah, but that one's easier to fix. It's if I actually fry the transmitter--
88 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. Oh, absolutely. You know, let a squirrel get across a couple of those things, it doesn't do the squirrel a lot of good and I've seen quite a number of transformers blown. Okay. Well, thank you. I yield.
89 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. May I say one last thing, and that is if I'm a terrorist and I have a nuclear weapon, it seems most unlikely I'm going to use it to do an EMP. You know, unfortunately, it's true. I'm going to put it in a major metropolitan area. Yeah.
90 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. We had that discussion in my office this morning with my staffer in this area because I said, look, you're going to want to have death and destruction that shows up on TV. You're going to put it in a football stadium, for example.
91 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. Exactly. And EMP at that point is the last of our worries.
92 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412574 |  | Mr. Weber. Yeah, good point. Thank you. I yield back.
93 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. The Chair now recognizes Mr. Grayson, who is the Ranking Member on the Energy Subcommittee.
94 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412276 |  | Mr. Grayson. All right. I'm going to be asking Dr. Morgan a couple of questions based upon what would have been able to avoid major blackouts in the past, what kind of research and other efforts we should be undertaking now to avoid things that have already happened. Here's an interesting list. These are the 12 largest blackouts in history and what caused them. The first one I lived through, it was in New York in 1965. It was caused by the tripping of a 230 kilovolt transmission line and a domino effect that followed that; 1978, Thailand, the generators failed; 1989, Canada, a geomagnetic storm; 1999 in Brazil, a lightening struck an electricity substation near Itaipu; 2001, India, failure of a substation; 2003, in the United States and Canada there was a high-voltage power line that brushed against some overgrown trees; 2003, Italy, two internal lines overloaded; 2005, Indonesia, failure of a 500 kilovolt transmission line; 2006 in Europe, a power company switched off a power line in order to let a cruise ship pass; 2008, China, winter storms; 2009, Brazil, the Itaipu generator failed for a while; 2012, India, the largest in history, 670 million people lost electricity and three power grids collapsed because circuit breakers tripped. So going through this list, clearly most of them were internal to the grid. Most of them were not caused by external events. There's not any instance in that list of cybersecurity issue, there's not any instance in that list of an electromagnetic pulse, not any instance of a terrorist attack, not any instance of any squirrel attack, and only one instance of space weather. So I think this can help us to focus what really would matter in this case, which is how do you avoid blackouts? Dr. Morgan?
95 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. Well, I certainly agree with that assessment. I would say one other thing first, which is the blackouts that most of us experience on an annual basis are not caused by the sort of large-scale blackouts that you just described but they're caused by, you know, people crashing their truck into a utility pole or a branch coming down on a line in a thunderstorm or something like that. For the big ones that you did discuss, there are obviously several things one can do. One needs much better training and supervisory controls so that you don't take steps that put the system into a vulnerable state. And there's a lot of research going on at DOE and elsewhere and within the industry on how to provide better control and also how to better train operators. Up until recently, it's been really hard to analyze the dynamic flows in a power system in real-time. Computers are getting to the point that you can get close to doing that. The strategy in the past has been think of all the contingencies that could override arise, analyze them all and figure out what I ought to do in each of those cases, and keep people prepared to move on those things. So the answer is, yes, there's a lot that can be done and much of it is being done.
96 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412276 |  | Mr. Grayson. Well, if you had to pick one single thing that would make blackouts like the ones that I described, the large-scale blackouts less likely, one form of research or development, what would that be?
97 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. Better supervisory status control, that is knowing what--how close to the edge I am and what my vulnerabilities are so if an event does--I mean all of these things are triggered by some event like, you know, an operator making a mistake or an ice storm or a flood or something, but I need to know what the status of the system is and have operators prepared to back off or do other things to take contingency--or to consider contingencies. Up until recently we've always used the sort of N minus 1 rule, that is the rule that if one thing goes, the system ought to continue to operate okay. And we're getting sufficiently tight in terms of the capacity with which we're stressing the system that probably that's not a sufficiently conservative rule anymore and so people need to do analysis to figure out where they are at and what sorts of failures could cause what kinds of problems.
98 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412276 |  | Mr. Grayson. So are there national federal programs or even utility company programs along the lines of what you described or is it basically ad hoc at this point?
99 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. No, there are--it's not basically ad hoc. There are serious research programs at a number of the national labs like PNNL and EPRI and others on the industry side are also actively engaged in this sort of work. This is an issue that the industry really does understand and is working hard to address. I might say one other thing, and that is that the sort of replacement transformer issue that I mentioned addresses not just the kinds of destruction that could happen from terrorism or from natural events of the sort that you described but also the sort of thing that Dr. Baker talked about. I mean there are multiple reasons why one would like to have standby equipment, and transformers are just really big and hard to move and expensive, and so we ought to be doing better there.
100 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412276 |  | Mr. Grayson. Thanks. I yield back.
101 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. The Chair now recognizes the gentleman from Florida, Mr. Posey.
102 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Posey. Thank you very much, Mr. Chairman. Thank you, witnesses, for appearing today. And, Mr. Chairman, I thank you especially for holding this hearing. This issue is so vitally important to the national security of our country and I think possibly ultimately the survival of our species. The New York Times had a bestseller for a while. It's called ``One Second After'' by William Forstchen. I assume you all have read that before?
103 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Morgan. No.
104 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Posey. Well, my next question was going to be could you find any inconsistencies with the reality in the book? The book allegedly was written based on a Congressional intelligence report on the EMP threat. And it's staggering.
105 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Lordan. Would you want me to----
106 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Posey. Yes, sir.
107 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Lordan. Yeah. Do you want me to answer that----
108 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Posey. Yes.
109 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Lordan. --question? Okay. So, yeah, it was a novel, and so there were liberties taken and they did base this on classified information, which I don't have access to. But when we analyzed what the impact would be, and this is what we call a high-altitude electromagnetic pulse, detonated seven, ten miles above the Earth, we know that there were some relays are going to be affected but not all. We know that some computers, some communication systems are going to be impacted but not all. And it is possible and likely that there could be blackouts, but then there's a recovery and there's things you can do to recover more quickly.
110 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Posey. Okay. Dr. Baker mentioned the solar flare that we avoided. I think it crossed the path of our orbit about two weeks--if we had been about two weeks further ahead, it would have been very serious consequences. You talked about it being in trillions of dollars. Could you quantify that just in a couple of brief sentences, the kind of impact that would have had on everyday life?
111 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. Well, I think--yes, it was--missed the Earth by about one week, about seven days, six or seven days. If it had occurred about a week earlier, so--it would have certainly hit the Earth. That would have been the kind of scenario that we think we would most dread. It would be a huge impact on the power grid. It would stand the chance of knocking out a number of the large, extremely high-voltage transformers on the backbone. We don't know how many, we don't know exactly the failure modes, but the $2 trillion really comes from looking at if one is without electrical power for weeks or months or extending into the timescale of a year or so, that this really then starts to be in the trillion of dollars kind of cost.
112 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Posey. What kind of damage do you think it would have been to our satellite systems?
113 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. Well, that's the other component of this, which I'm glad to have the chance to respond to here is that it's not just the effects on the power grid directly; it's also the effects on satellites, the timing that we get from the global positioning systems which feeds into the other systems, it's the communication, it's all the things that we rely on. If all of those start to collapse and they start to collapse in sequence, then we are facing I think a kind of a society that we haven't seen for decades or 100 years or sent back to very primitive kind of conditions.
114 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Posey. I commend to you the book ``One Second After''----
115 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. I will----
116 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Posey. --and----
117 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. Yes.
118 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Posey. The consequence, if it takes out enough satellites, you know, you don't have a weather report, you don't have a news report, you don't have a cell phone, you don't have a laptop----
119 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. Absolutely.
120 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Posey. --you don't have a car that works, you don't have--I mean you're just out of business----
121 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. Absolutely.
122 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Posey. --and it is very, very, very primitive. And the threat is real, as you mentioned. It's incredibly real.
123 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. That's right.
124 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Posey. Are any of you aware of any technology to more or less have a super--for lack of a better term--circuit breaker that can detect an EMP threat in advance and shut this system down whether it be on a satellite or on a generator? Are any of you aware of that?
125 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Lordan. I'd say the--if you get hit with an EMP, the rise time of that impact is faster than any electronics device could respond to, I assert.
126 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Posey. Okay.
127 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. A couple of things. We were sort of disparaging about the technology in some earlier Soviet fighters until we figured out that the reason they were using vacuum tubes rather than solid state was precisely to be EMP-resilient. We have an annual doctoral qualifying exam in our department and we used a 2X Carrington event--Carrington event was the largest measured solar mass ejection--as the subject for the exam this past year, and the focus was on the resilience of emergency communication. You know, if you're using fiberoptics and you've hardened stuff at both ends, the fiberoptics are going to be resilient to this, so it really is a matter of looking carefully across the system for potential vulnerabilities. And as you heard in the case of the first testimony, if I back off the loading of the transformers, for example, so the cores are not saturated, I'm far less likely to fry them and I can do other things like capacitive coupling and some other----
128 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Posey. There is some----
129 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. --so the answer is there are strategies.
130 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Posey. There are people who now are working on a high-speed technology to detect it and super high-speed react to it but there just seems to be, believe it or not, no demand for it, which kind of amazes me but----
131 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. Well, to just say again what I said before, which is to get a widespread EMP from a nuclear device, it has to be a high-altitude burst and it--if we have an adversary that engages in a high-altitude burst, I think EMP may be the least of our problems because I presume it'll be combined with a whole lot of surface burst, which will----
132 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Posey. Sure.
133 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. I mean only a major nuclear exchange is likely to lead us to that point.
134 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Posey. Thank you, Mr. Chairman. I'm out of time so thank you for your graciousness.
135 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. The Chair recognizes the gentleman from Colorado, Mr. Perlmutter.
136 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412192 |  | Mr. Perlmutter. Thanks, Mr. Chair. You know, the purpose of this is we're a very connected society obviously, and that connectedness is great for comfort, for convenience, for efficiency, but it has an obvious downside, which is a potential domino effect of it all failing at once, whether it's a nuclear device, it's cybersecurity, it's space weather, it's just some huge planetary Earth kind of weather thing. So, Dr. Baker, I want to start with you real quick and then to you, Ms. Bartol, and then I'm going to yield the balance of my time to Mr. Takano. Given where we are, if you had your wish list, what would be the things we could do to predict better and more quickly the space weather events you talked about to minimize the damage that might come from a big event?
137 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. I think what we really need to have is a 24 by 7 very dedicated kind of program to look at the sun from sort of all directions and to be able to, as soon as possible, assess whether the disturbances coming from the sun are going to be harmful or relatively benign. If we could do that, we would then be much better positioned to react appropriately and to probably minimize the impacts. The difference is that we--right now--light travels at 186,000 miles per second, 8 minutes warning that something is happening on the sun, but the fastest of these events can be at Earth in 12 or 14 hours.
138 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412192 |  | Mr. Perlmutter. And you would suggest that we invest some more to avoid what could be----
139 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. That's right.
140 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412192 |  | Mr. Perlmutter. --potentially unbelievable costs
141 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. That's right. I think the----
142 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412192 |  | Mr. Perlmutter. Okay.
143 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. --investment in such an observing program would be dwarfed by the cost society would face if we don't do those things.
144 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412192 |  | Mr. Perlmutter. Okay. Ms. Bartol, what would you suggest that we do today to minimize the potential for cyber attacks that bring down the system?
145 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Ms. Bartol. We need to educate the society about their behavior on the internet and educate specifically in the case of energy industry the people who work in the utility, from executives to people on the ground, boots on the ground, especially the small utilities that the Chairman discussed. They have one IT guy or maybe a security guy at the same time. It's a matter of expertise; it's a matter of knowledge. There may be technologies and techniques they might not know. So education is huge here.
146 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412192 |  | Mr. Perlmutter. I yield the balance of my time to the gentleman from California.
147 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Takano. Dr. Morgan, what are microgrids and would they be useful--a useful tool that could be--that could enable communities to withstand and recover faster from high-impact events?
148 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. A microgrid is a small collection of local generators, perhaps combined heat and power systems, which are interconnected and then also usually connected to the grid. The big difficulty we have with--and so every presentation you go to, you'll see--at DOE, at EPRI, and others, you'll see all this proliferation of new technology on the demand side, that is, on the distribution system side. What those don't typically talk about is who's going to own all that stuff. And most U.S. States have rules that provide exclusive service territories to utilities, which means the only entity that can own one of those things is a utility, and pardon my EPRI friends; I've advised them a lot--I would not rank the distribution utilities as the most innovative firms in the country. And so I think there needs to be some strategy to allow small-scale private players to get--we've deregulated much of the supply side. We need to do a bit more on the demand side to allow small-scale players to come in underneath the distribution system to build these sorts of systems because they can provide very considerable resilience in--for critical social services in the event that the large-scale system goes down. I'm not talking about getting off the grid. And I'm talking about tariffs that are symmetric so they recognize the cost that you impose on the big system and vice versa. When the United States--when the Congress passed law that said I must--if I build a generator, the utility must interconnect me, that was a federal law and now that's true all across the country. On the other hand, if I try to sell some of that power to Dr. Baker next door, that's in most States not legal yet, and so I don't know if this has got to be solved 50 times for different States or if it could be solved once for the nation as a whole in the same way that interconnection for single generators was solved. But I think it's an issue that would be worth your exploring.
149 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Takano. Yeah, my time is up. I yield back. Thank you. I thank the gentleman from Colorado for yielding.
150 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. Thank you. I recognize Mr. Rohrabacher----
151 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412192 |  | Mr. Perlmutter. Mr. Chair, just a second. Did you recognize that Dr. Baker was from Colorado?
152 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. I believe we did in the very beginning, yes.
153 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412192 |  | Mr. Perlmutter. Okay. Thank you. Thank you. I meant to mention that. I'm sorry.
154 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. Oh, thank you. I recognize the gentleman from California, Mr. Rohrabacher.
155 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 400343 |  | Mr. Rohrabacher. Thank you very much. And, again, Mr. Chairman, I appreciate your leadership on this issue. This is an issue that is vital to our country's safety and security, and frankly, this is the first detailed hearing I've been to on it. I congratulate you for stepping up and providing that leadership. And I'd also like to associate myself with Mr. Takano's line of questioning, which was right on target. And--but I would like to disassociate myself with Mr. Grayson's line of questioning.
156 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412276 |  | Mr. Grayson. I appreciate that. Feel free to disassociate yourself at any time from any questions I ask. I feel good about that.
157 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 400343 |  | Mr. Rohrabacher. He wanted me to do that to help him in his Senatorial campaign. The discussion that we're looking at here is, as far as I can see, there's low probability of certain types of disruptions but with high-impact, very high-impact, but then we have other vulnerabilities that you've outlined that have lower impact. Where should our emphasis be? Should it be on this--basically a solar storm in trying to make sure that we are lined up for that and have a few days' notice and then being able to turn off our machines and in the meantime to sort of minimize the effect, or should we be looking at these various things that you're talking about, adding steel so that the terrorist squirrels don't get to us?
158 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. Let me first say that I think this is a very active topic of research trying to understand what lower--you know, higher-frequency, lower-impact kind of events are doing to our systems. We can--it's very useful for us to think about the most extreme events and how we would inure ourselves to their effects. If we did that, we'd probably make ourselves better for the lower frequent--for the lower-impact events as well. But right now I think we don't know exactly where the sweet spot is, and investment versus, you know, the cost of doing things versus the impact that we might have.
159 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 400343 |  | Mr. Rohrabacher. Well, we just were treated to some information about possibilities that utilities and that being one of the roadblocks to--and, by the way, it's just not utilities; it's also politics in the local area which determine what the policies of those utilities will be. Let me just ask this. In terms of--aren't we really talking about de-griding the country? Isn't that really the long-term concepts? No, perhaps we have reached a stage where my colleagues on the other side of the aisle have been trying to push me for a long time into basically having independent generation of electricity by solar power and things such as that, individual homes de-grided? Go right ahead, sir.
160 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. I think we're always going to need a grid. I think you're right that there will be much more dispersal of generation but, you know, the sun doesn't shine at night, and at the moment, storage technologies are very expensive, and there are some broader reasons as well that you really want to have a high-voltage backbone. And the wind doesn't blow all the time either. For example, in the Bonneville Power Administration some years ago there was a period of ten days when not a single wind machine put out a single bit of electricity. So you've got to have strategies to deal with that. On your earlier question, though, what's the appropriate balance between smaller-scale stuff and the very large things? I mean I think you've got to have a bit of both and you've got to figure out how to strike the appropriate balance. You can't go off the deep end and put all your energies into worrying about the rare events that could cause nationwide or large regional blackouts and not worry at all about local and smaller-scale stuff of the sort that hurricanes or others can do, and so you need a balance. There's one other thing I might say on that, and that is, given that you don't know which utility is going to get into trouble, there is a problem of sort of the commons. I mean no single--especially for terrorism, no single utility can really justify in economic terms making the investments for something like a transformer stockpile. On the other hand, the nation as a whole ought to have it because there is a good chance that somewhere, sometime we are going to wish we had it.
161 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 400343 |  | Mr. Rohrabacher. Mr. Chairman, let me just note that the storage of electricity is a major part of this whole concept of how we're going to deal with this. There is a lot of research going on right now. There are some people who are working on what could be breakthrough technologies in the storage of electricity, and this, too, might be an interesting discussion for the Committee. Thank you.
162 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. Thank you. We'll keep that in consideration. I now recognize the gentleman from Ohio, Mr. Johnson.
163 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412460 |  | Mr. Johnson. Thank you, Mr. Chairman. Again, I agree this is a very, very important topic and I appreciate our panel being here with us today. Dr. Baker, you know, in 1989 a geomagnetic disturbance brought on by a solar weather event caused millions of Canadians to lose their power for approximately nine hours. The grid in that situation collapsed within 92 seconds of the geomagnetic disturbance event. If a similar event occurred today almost 30 years later, would there be more of a warning? Would we know about it in advance?
164 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. I think what would probably be the biggest difference between now and 30 years ago is how interconnected--Congressman Perlmutter mentioned the interconnectedness of society. I think that we are much more tightly coupled now. The impacts would propagate more--further and I think more rapidly and probably more seriously. And so----
165 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412460 |  | Mr. Johnson. So it could be a more negative impact?
166 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. It could be a more negative impact by far I believe, and that's one of the things that I guess I've been most struck by in my recent examination of these issues is how interconnected society is and how interconnected our technologies are. We've surrounded ourselves, as we like to say, in a cyber electric cocoon that is----
167 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412460 |  | Mr. Johnson. Sure.
168 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. --much more tightly coupled now than it was 30 years ago.
169 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412460 |  | Mr. Johnson. Yeah, I share your concern. As a 30-year-plus IT professional, I have a great concern about the interconnectivity. There's great benefit to it but there's also tremendous risk associated with it. So in that vein, is there technology available to help us contain or limit the impact and should we be looking at that kind of technology?
170 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. I think we should be going into this with our eyes much more open than they are. I think many, many times we develop technologies in one sector without thinking about how they relate to other sectors and how dependent we become. Again, the timing signals that come from the global positioning system are playing into many other kind of technologies, and we at least should be aware of that. I believe we ought to be much more careful about what the interconnectedness that we build into our systems and--now and into the future.
171 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412460 |  | Mr. Johnson. Well, yeah, I agree with you. It certainly gives us pause to stop and think. You know, we should do a risk-benefit analysis to determine whether or not the risk of a particular----
172 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. Right.
173 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412460 |  | Mr. Johnson. --system interconnectivity is an issue or not. How often do other events affect everyday life like high-frequency radio communications, our space travelers' health, satellite function, and aircraft electronic systems?
174 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. I think when you think about the broad sweep of space weather and all those dimensions that you're talking about, it probably affects us, you know, all the time, and on a daily basis there can be things. But when the sun becomes more active especially, then I think that this becomes something that can affect all those sectors and sometimes simultaneously. So as we talked about before, there's a lot of focus on the most extreme events and the rarity of those extreme events, but as we build these more capable systems, the threshold for effective search go down and I think it becomes not a matter of every ten years or every five years, but it probably becomes almost a daily occurrence that someone somewhere is going to be suffering the effects of the environment on their technological system.
175 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412460 |  | Mr. Johnson. Yeah. Well, I mean we saw things like the Carrington event back in the early 1900s or earlier----
176 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. Yes.
177 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412460 |  | Mr. Johnson. --1900s. Is there technology available today to increase the warning time of those types of events?
178 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. Yes. As we talked about, by observing the sun that we could probably have an idea that a solar storm is coming our way. That Carrington event occurred in 1860. The internet of the Victorian age was the telegraph system. That was about the only technology that could really sense the effects of this.
179 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412460 |  | Mr. Johnson. Has anything of the magnitude of the Carrington event occurred since then?
180 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. I mentioned in my testimony that there was an event that occurred in 2012 that was probably two or three times stronger than the Carrington event, that it missed the Earth by about a week or so, that had that occurred, I had contended--I guess we can debate this point--we'd probably still be picking up the pieces had that event had occurred a week earlier.
181 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412460 |  | Mr. Johnson. Is that right? Wow. How concerned are you about an extreme space weather event taking place during our lifetime? And you just said that, 2012, a couple of weeks' difference and we'd be still picking up the pieces. What do you mean by picking up the pieces? What would have been the potential implications of that?
182 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. Well, as Dr. Morgan talked about, we don't have a lot of transformers lying around ready to reinstall into our power grid. We don't have a lot of the kinds of backup systems and so on ready----
183 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412460 |  | Mr. Johnson. I don't know. In Marietta, Ohio, the squirrels knockout transformers all the time and----
184 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. Yeah, that's right. Yeah. But I believe that, again, if we think about the worst kind of case scenario and how this would propagate through not only the power grid but other aspects of technology, I mean that we would probably still be trying to recover fully from the effects of those kinds of--you know, the incidents of events.
185 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412460 |  | Mr. Johnson. Well, it's amazing how many things like this are out there that we--that--I daresay that many people have no clue how precipitously close we are to a disaster of magnanimous proportions and we don't even know about it. It's happening almost right under our noses and we don't know it.
186 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Baker. I think that's what's most alarming is the vulnerability that we have and how unaware we typically are about that, yes.
187 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412460 |  | Mr. Johnson. Okay. All right. Well, Mr. Chairman, I've exceeded my time. I yield back.
188 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412624 |  | Chairman Loudermilk. Well, this is a very important topic, and so we also have a gentleman from California, Mr. Takano, who is not a member of the subcommittee, but we appreciate his interest in being here. He's a member of the committee, and so I recognize you for the final five minutes.
189 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Takano. Thank you, Mr. Chairman. I thank my colleague from California, Mr. Rohrabacher, for commenting--saying something about the topic I brought up, the line of questioning. Dr. Morgan, am I to conclude that--with my question regarding microgrids that--and the--your comment about the emphasis--the heretofore emphasis on distribution and not enough attention maybe on the other side of the equation on diversifying the generation----
190 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. The reverse?
191 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Takano. Excuse me. Go ahead. Clarify what you're----
192 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. The reverse. We have restructured the supply side. We have not done too much to restructure the demand side, that is the distribution system and the microgrids that might be down under the distribution.
193 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Takano. Thank you. Thank you for clarifying. Okay. So my question is--and I want to follow up on what Mr. Rohrabacher suggested at the end of his comments about battery technology and--where--how could the federal government--or what would be the appropriate role in terms of emphasizing more research in this area? There's a lot of breakthrough. I just recently visited a vanadium battery company. How could this be--is this a potential game-changer if we were to make breakthroughs in various types of battery technology and how this would help alleviate our vulnerability?
194 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. Yeah, battery technology is important, and of course in California there's actually mandates to try to get some more batteries installed to begin to get practice and to drive things down the experience curve. The--I mean and there are a bunch of emerging new technologies. Jay Whitacre, for example, on my faculty has built a company called Aquion, which has a very nontoxic battery that's basically you can drink the electrolyte that could be--yeah, it really is. It's just a----
195 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | 412192 |  | Mr. Perlmutter. I'll stick to beer.
196 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. Yeah. But--and the DOE is--has some major research in that space. Actually, if you allow me 30 seconds to come back to the earlier line of questioning----
197 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Takano. Sure.
198 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. --with respect to interconnectedness, solar mass ejections is--are a high-latitude event. That is you'll notice that all of the examples were at, you know, in Canada or in South Africa, but if you have an event like that and it causes a big disruption, the power system is interconnected, so another thing you can do to limit the propagation of a problem is to be concerned about how do you avoid propagating disturbances if you take out, say, the power system across the northern tier of the United States and Canada? How do you avoid that then subsequently propagating through the rest of the Eastern interconnect or the Western interconnect? More likely, the Eastern interconnect given the geology. I'm sorry. Go ahead.
199 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Takano. What can we do more to--I know the DOE supports the battery research, but could we be doing more? And is this a wise place to kind of do more--provide more support?
200 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. Well, I mean I mentioned Jay Whitacre. That work has largely been supported with venture monies, and so you want to make sure that you continue to provide a hospitable environment for those sorts of investments. But I think almost anybody today who has a really good battery idea and has begun to demonstrate it in the laboratory isn't going to have a lot of problems finding substantial capital to build a firm.
201 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Takano. Well, great. But related to the entire topic of today's hearing, better battery storage, energy storage technologies could also be part of a strategy to address----
202 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Dr. Morgan. Yes. I mean it's clear there is no one-size-fits-all. As we restructure the system, we're going to need a portfolio of strategies and technologies, and support for the critical issues all across that space are important. The Office of Electricity at the DOE has, for reasons I've never quite understood, long been rather neglected and has been modestly funded, and so that would be one place to start. And I don't know why it is, but OMB has always often sort of neglected it as well. I think that's a mistake and I think that this committee maybe ought to explore that or these committees ought to maybe--subcommittees should explore it a bit more.
203 | Energy Subcommittee | HSSY-20 | CHRG-114hhrg97756.txt | EXAMINING VULNERABILITIES OF AMERICA'S POWER SUPPLY" | N/A |  | Mr. Takano. Mr. Chairman, I would endorse that suggestion, also my colleague's suggestion, Mr. Rohrabacher's suggestion about more work on what's going on in the private sector and the public sector in battery storage and energy storage technology.